## Analog
Item | Current per foot | run length | # of runs | LED in feet | number of channels | Current per channel | Total Current | controllers needed | Power Supply Size per controller | CDT Type | dc leads | Wire | Phoenix Connectors |  | feet | rolls | 10% for waste
Sectional individual run control break down
[14 empty] | RGBA | 294.6 | 18.4125 | 20.2538
CW Surround 4 runs Side 1 | 0.5 | 14.6 | 4 | 58.4 | 8 | 3.65 | 29.2 | 1 | 29.2 | 12.7 |  |  |  | 6k | 196.4 | 12.275 | 13.5025
CW Surround 4 runs Side 2 | 0.5 | 14.6 | 4 | 58.4 | 8 | 3.65 | 29.2 | 1 | 29.2 | 12.7 |  |  |  | 2700 | 196.4 | 12.275 | 13.5025
CW Surround 4 runs Top | 0.5 | 23 | 4 | 92 | 8 | 5.75 | 46 | 1 | 46 | 12.7
208.8
RGBA surround 3 runs Side1 | 0.5 | 14.6 | 3 | 43.8 | 12 | 1.825 | 21.9 | 1 | 21.9 | 12.7
RGBA surround 3 runs Side2 | 0.5 | 14.6 | 3 | 43.8 | 12 | 1.825 | 21.9 | 1 | 21.9 | 12.7
RGBA surround 3 runs Top | 0.5 | 23 | 3 | 69 | 12 | 2.875 | 34.5 | 1 | 34.5 | 12.7
156.6
Inner light box
CW Surround 4 runs Side 1 | 0.5 | 13 | 4 | 52 | 8 | 3.25 | 26 | 1 | 26 | 12.7
CW Surround 4 runs Side 2 | 0.5 | 13 | 4 | 52 | 8 | 3.25 | 26 | 1 | 26 | 12.7
CW Surround 4 runs Top | 0.5 | 20 | 4 | 80 | 8 | 5 | 40 | 1 | 40 | 12.7
184
RGBA surround 3 runs Side1 | 0.5 | 13 | 3 | 39 | 12 | 1.625 | 19.5 | 1 | 19.5 | 12.7
RGBA surround 3 runs Side2 | 0.5 | 13 | 3 | 39 | 12 | 1.625 | 19.5 | 1 | 19.5 | 12.7
RGBA surround 3 runs Top | 0.5 | 20 | 3 | 60 | 12 | 2.5 | 30 | 1 | 30 | 12.7
138
12